# Energy and Water Management Plan

# Section 1: Instructions

Texas Government Code §447.009 requires each state agency and institution of higher education to set and report percentage goals for reducing its usage of water, electricity, transportation fuel, and natural gas. Per 34 Tex. Admin. Code §19.14 (2016), these goals must be included in a comprehensive energy and water management plan (EWMP) submitted every fiscal year to the State Energy Conservation Office (SECO) by Oct. 31. This requirement is intended to streamline and standardize the energy reporting requirements of state agencies and institutions of higher education.

Please complete Section 2: Agency Information and Section 3: Providing Agency or Section 4: Tenant Agency, as applicable, for Fiscal Year 2020. Save this form as “EWMP-Agency-FY2020.docx” and return this form by email to seco.reporting@cpa.texas.gov no later than Oct. 31.

Please visit the SECO’s Energy and Reporting website for more information. For questions about reporting, please contact seco.reporting@cpa.texas.gov or call 844-519-5676.

# Section 2: Agency Information

Please provide the name and number (if applicable) of the agency that is submitting an Energy and Water Management Plan.

Agency Name:    Angelo State University

Agency Number:   737

Please provide the contact information for the person(s) responsible for implementation of the recommendations in the plan and the contact information for the person(s) responsible for reporting and submitting the plan, if different.

## Implementation Contact

Name:    Jay Halbert

Title:    Director of Facilities Management

Email:    jhalbert@angelo.edu

Phone:    325-942-2355

## Reporting/Submission Contact

Name:    Bruce Flage

Title:    Director of Procurement & Energy Services

Email:    bflage@angelo.edu

Phone:    325-942-2358

# Section 3: Providing Agency

Does your agency occupy or manage a state-owned building and pay the utilities?

☒Yes	☐No

If NO, please skip to Section 4: Tenant Agency.

If YES, please complete the following:

Have you submitted, or will you be submitting by October 31, FY 2020, energy and water usage data for your agency and properties using the ENERGY STAR Portfolio Manager tool?

☒Yes	☐No

## Progress Report

The Progress Report section must outline the progress of activities related to the implementation of projects from the previous Energy and Water Management Plan (if applicable), including continuation of or new preliminary energy audits, a summary of the results, utility efficiency and cost savings. Agencies should periodically conduct preliminary energy audits to identify new utility savings opportunities.

Campus Energy Use

Energy units are converted to kBtu to allow for comparisons of electricity and natural gas usage.  Goals and energy use are then stated in kBtu/sq ft.  Estimated savings are based on energy consumption for the same time period from the previous year normalized to current energy costs and campus square footage. It does not take into consideration the climate difference between periods.

In the fiscal year for 2020 the entire campus used 76.8 kBtu/Sq Ft. That was a decrease of 2.1% from the previous year giving an overall estimated cost savings of $37,476 from the previous year.  There has been a drop of just under 14% in the past 10 years.

In Table I, the campus energy use is broken down by utility type. The percent change column is the energy usage change from fiscal year 2019 to 2020.

Table I: Campus Energy Use (kBtu/Sq ft): FY2010-FY2020

| Utility | FY10 | FY15 | FY19 | FY20 | % Change | Est. Savings |
| --- | --- | --- | --- | --- | --- | --- |
| Electricity | 60.6060 | 60.5973 | 55.1171 | 54.2628 | Down 1.5% | $29,664.27 |
| Nat. Gas | 28.6709 | 21.6775 | 23.3862 | 22.5827 | Down 3.4% | $7,812.22 |
| Total | 89.2769 | 82.2748 | 78.5033 | 76.8455 | Down 2.1% | $37,476.49 |

In Table II, the campus energy is broken down to compare FY2010 to FY2020; it shows a 13.9% decrease in overall kBtu usage per square feet. The savings is calculated from the usage change in the utility and the current price paid for that utility.  The actual cost savings from FY2010 to FY2020 was $270,855.46, which mainly comes from the drop in price of electricity and natural gas.

Table II: Campus Energy Use (kBtu/sq ft): Change from FY2010 to FY2020

| Utility | FY 2010 | FY 2020 | % Change | Est. Savings |
| --- | --- | --- | --- | --- |
| Electricity | 60.6060 | 54.2628 | Down 10.47% | $217,886.19 |
| Nat. Gas | 28.6709 | 22.5827 | Down 21.23% | $52,969.36 |
| Total | 89.2769 | 78.5033 | Down 13.92% | $270,855.46 |

In the past 12 months, Angelo State University installed 100 pathway pole lights throughout campus changing to a 50,000-hour 115-watt LED which replaced 15,000-hour metal halide lamps that varied from 250-watt to 400-watt. Angelo State changed out 20 of the 175-watt metal halide exterior building lighting with 58-watt LED wall packs.  The university has also has begun changing out the 25,000-hour 32-watt fluorescent light tubes with 50,000-hour 15-watt LED light tubes as time and access to rooms is available.

Over the past 5 years, Angelo State University changed out over 150 parking lot lights from 15,000-hour 400-watt metal halide to 70,000-hour 143-watt.  The university also installed over 600 LED strip lights that were 43-watt that replaced 128-watt fluorescent tubes.

## Goals

The Goals section must summarize the future goals for utility conservation. Pursuant to Texas Government Code §447.009, each state agency and institution of higher education shall set percentage goals for reducing the agency's or institution's use of water, electricity, transportation fuels and natural gas. The percentage goal should state a target year and reference the target goal relative to a benchmark year.

In Compliance with House Bill 3693, Angelo State University set a goal to reduce total electrical consumption by 2% for Fiscal Year 2020.  Table III below shows the kilowatt hours per square foot for the entire campus quarterly. This is all electrical usage whether it is in a building or on the grounds.  It shows a 1.67% decrease for fiscal year 2020 as compared to the previous year. In addition, it was a 4.85% decrease from 2018 to 2020, showing ASU is still maintaining the overall goal.

| Table III: Entire Campus Electricity Usage in kwh/sq ft |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fiscal Year Quarter | FY 2014 | FY 2015 | FY 2016 | FY 2017 | FY 2018 | FY 2019 | FY 2020 | % change from previous year |
| 1st Qtr | 4.57 | 4.70 | 4.76 | 4.64 | 4.27 | 4.31 | 4.41 | 2.32% |
| 2nd Qtr | 4.03 | 4.15 | 4.08 | 4.03 | 3.84 | 3.73 | 3.64 | (2.41%) |
| 3rd Qtr | 4.13 | 4.20 | 4.14 | 4.05 | 3.93 | 3.69 | 3.38 | (8.40%) |
| 4th Qtr | 4.52 | 4.71 | 4.36 | 4.64 | 4.65 | 4.42 | 4.45 | 0.68% |
| Yearly Total | 17.25 | 17.76 | 17.34 | 17.36 | 16.69 | 16.15 | 15.88 | (1.67%) |

| Utility | Target Year | Benchmark Year | Percentage Goal |
| --- | --- | --- | --- |
| Water | FY2024 | FY2020 | 5% |
| Electricity | FY2021 to FY2027 | FY2020* | 5% per year |
| Transportation Fuels | FY2024 | FY2020 | 5% |
| Natural Gas | FY2024 | FY2020 | 5% |

*Texas Government Code Section 388.005(c).

## Strategy for Achieving Goals

The Strategy section must describe how the agency or institution plans to prioritize and implement cost effective utility efficiency measures in order to meet the established utility conservation goals.

  - Continue to monitor the upgrades/replacements to air handlers, electrical equipment and items at the central plant as according to the performance contract Angelo State University has with Tour Andover Controls (TAC).  This is a $13 million dollar energy savings project for the university that is to be paid over the next 15 years (2021) with the money saved from the improvements.  The installations were completed in February 2009.

  - Maintain consistent temperatures across campus and don’t deviate to please individuals. The university has changed the original set points in order to save even more energy. For Cooling, a set point of 74 degrees (73 degrees was the original). For Heating, a set point of 68 degrees (70 degrees was the original).  This change was adopted by the university in January 2011.

  - The elimination of personal space heaters.

  - Informing and training personnel to turn off computers, monitors, printers and such when not in use and overnight.

  - Monitor the utility meters for discrepancies and unexpected usage amounts. Verify anomalies and correct problems.

  - Inform university policy makers on the worst energy performing buildings and try to eliminate or make those buildings more efficient.

  - In January 2015 the Student Government Association started implementing a student-led energy conservation effort in the dormitories.  The program focuses upon teaching students to turn out lights, set the AC at reasonable temperatures, and other simple energy saving steps that students can take. Essentially, it teaches them about how to be good stewards of their resources.

## Implementation Schedule

The Implementation Schedule section must outline a proposed timeline for implementing utility cost reduction measures and a strategy for monitoring utility savings of the installed utility measures.

The implementation schedule for cost reduction is dependent on the availability of technicians to install cost reduction measures.  As time permits and funding is available to purchase items that could result in cost savings measures the university will take advantage and do so.  The tracking of the measures implemented will be done by monitoring the utility usage for the area that the implementation took place.

## Finance Strategy

The Finance Strategy section must describe how the agency or institution plans to obtain funding for the recommended utility cost reduction measures. This section should show the estimated cost of all projects and the funding sources to be used.

Angelo State University continues to take advantage of rebates and electrical provider incentive programs to lower the cost of LED lighting technology that makes upgrading to LED lights more cost efficient than replacing broken bulbs/fixtures with old technology.  ASU also replaces high utility use equipment with the most efficient/best value for the state. There are no current energy efficient projects as the university is still installing projects that were purchased but not available to implement in FY20 due to COVID-19 shutdowns.

Transportation Fuel Consumption (if applicable)

If your agency maintains one or more state-owned vehicles and does not report fuel usage via the Texas Fleet System, document the total gallons of transportation fuel used by your facility and fleet vehicles below.

Does your agency maintain one or more state-owned vehicles? 	☒Yes	☐No

Does your agency report its fuel usage via the Texas Fleet System?	☒ Yes	☐ No	☐ No Vehicles

| Transportation Fuel Type | Amount |
| --- | --- |
| Unleaded Gasoline* | click to enter use in kgal |
| Diesel | click to enter use in kgal |
| Bio-Diesel | 0 |
| E85 (Flex Fuel) | 0 |
| Compressed Natural Gas (CNG) | 0 |
| Unleaded for Gas Hybrids | click to enter use in kgal |
| Liquified Petroleum Gas (LPG) | 0 |
| Ethanol | 0 |

*Do not include unleaded gasoline for gasoline hybrids

## Employee Awareness Plan

The Employee Awareness Plan section must outline how the agency will make employees aware of utility cost reduction measures, both directly (affecting change in behavior) and indirectly (not designed to affect behavior).

Angelo State University publishes its energy report each year on the State Energy Conservation Program page of the university website.  There is also a quarterly newsletter put out by the VP of Finance and Administration where conservation points are mentioned.

# Section 4: Tenant Agency

## Progress Report

The Progress Report section must outline the progress of the implementation of projects from the previous Energy and Water Management Plan or Resource Efficiency Plan (if applicable), including a summary of the results of the projects in terms of utility efficiency and cost savings.

click to enter your agency’s Progress Report

## Transportation Fuel Consumption (if applicable)

If your agency maintains one or more state-owned vehicles and does not report fuel usage via the Texas Fleet System, document the total gallons of transportation fuel used by your facility and fleet vehicles below.

Does your agency maintain one or more state-owned vehicles? 	☒Yes	☐No

Does your agency report its fuel usage via the Texas Fleet System?	☒ Yes	☐ No	☐ No Vehicles

| Transportation Fuel Type | Amount |
| --- | --- |
| Unleaded Gasoline* | click to enter use in kgal |
| Diesel | click to enter use in kgal |
| Bio-Diesel | click to enter use in kgal |
| E85 (Flex Fuel) | click to enter use in kgal |
| Compressed Natural Gas (CNG) | click to enter use in kgal |
| Unleaded for Gas Hybrids | click to enter in kgal |
| Liquified Petroleum Gas (LPG) | click to enter use in kgal |
| Ethanol | click to enter use in kgal |

*Do not include unleaded gasoline for gasoline hybrids

## Employee Awareness Plan

The Employee Awareness Plan section must outline how the agency will make employees aware of direct utility consumption. Plans might include employee training, signage or recognition programs.

click to enter your agency’s Employee Awareness Plan